Lot 379

Punch:

Floor touch up

Adjust doors

Replace drawer front

Tile grout clean up

Trim kit for microwave lower level

USB not working main floor

Replace fans in all baths ( hoping to exchange old fans, electrician says he will install free)

- the estimate from Martins clearly stated 	EXTRA QUIET, not just quiet.  Those installed are noisier that the regular ones in our current house

Re-stain decking ( painter says nearly free) – we looked at the other houses in the neighborhood.  they all had same color from the ground to the roof

Added:

Dimmer on the Legrand module near the penninsula is installed upside down

Still some switches not in the right order

The switch in the guest bedroom (basement) for the fan requires an odd combination of on and off of the two switches to work

Drywall touchup (throughout house)

- Major items

  - Big hole by upstairs shower tile near door

  - Many vacuum outlets have gaps at edge

  - In some areas patches are rough and/or very obvious.  We marked many of them.

Paint touchup (throughout house)

Dishwasher not secured

Most of the sliding screens do not slide smoothly

Gutter vibration when wind blows.  This is on the peak on the southwest corner.

Upstairs window in one of the offices has a crack

One of the windows in the south office to the east has a blonde hair inside the glass

Bad towel ring installation in the guest bathroom

All the ethernet and rg6 need consistant labeling

Radiant floor needs to work (besides being gas)

Finish the cistern work with the final grading over the unit

Vacuum system was not in as of last Friday

Added cost: I need to price all this, unless you just want this installed we can

Fan/light in down bath - OK

Light over and in cabinets – thought the over light was included, the light in the cabinets was an add

Dimmer on down bar light

- Martin’s estimate stated dimmers for all the lights.  Dimmers were not put on all the lights, only those for which it made sense.

Door bell – not standard?

Add USB down – Phyl saw another uninstalled USB unit in a cabinet in the kitchen

Skin over hood – shouldn’t exposed cabinet to the stove hood be a finish like the cabinets?

Seal tile and granite – thought this was part of the install

Change out electric water heater to gas (minimal charge since misunderstanding) – It really surprised us the installer would put electric when everything else in the house is gas.  He should have at least asked did we want electric.

Fill all nail holes in trim (not free but working with painter on this for minimal charge) – surprised this is not standard construction, never heard of leaving nail holes open, especially on a highend house

Widen and extend driveway - OK

Cover laundry platform with laminate – yes, Billy had selected linoleum that shoud look good there.

Door stops – Thought this would be a standard item.  Do people realy want no doorstops?

Lattice under porch - OK

LED bulbs in and out

- The estimate clearly called for LED exclusively, this should not be an extra cost

Post lights 4 – yes added

Asked for two more towel bars for the Guest Bathroom, on the east wall between the toilet and sink. One above the other.

Other:

- I supplied the IT rack and jacks for the wiring closet and all the jacks for all the rooms.

- Overall not impressed with the quality of the poly.  In many places it feels rough like the grain was raised after one coat only and it was not lightly sanded and recoated.

- One of the Jones’ installers said he could design a wine cabinet for the wine closet.  Did you hear anything from him?  If not we will handle.

- We will need a rundown of how to use all the items such as how to use and care for the cistren and its pump, the generator, the vacuum, gas logs etc.

  - For the gas logs, is there a blower?  Now all the heat goes to the loft.

- There was to be a whole house surge protector.  I don’t see it listed anywhere